Day 1
Python for the Lab

---
This Workshop
- Quickly learn about Python
- Introduction to message based devices
- Structuring the project with the MVC pattern
- Perform an experiment from the command line
  - Learn about Threads
- Build a user interface for the experiment
  - Learn about Qt, Signals, Slots and QThreads
Point you into the right direction

---
Today
- Intro of ourselves
- Quick intro to Python
  - Dictionaries and classes
- Acquaintance with the device you are going to program
- Acquire data through the device
- Lay out the foundations for a full program

---
Quick Presentation
- Who are we?
- What experiment do we do?
- How can I benefit from the course

---
Quick Presentation
- Haoran:
  - imaging system, which requires the correlation between a detector and a 3D translation stage
- Ludwig:
  - ?
- Simone:
  - We have a TIRF & Darkfield + Spectroscope. Focus Lock system.
- Joong Bum:
  - Microfluidics setup with Raspberry Pi so I need python to launch some commands for taking pictures with the camera
- Florian:
  - CW laser, stage, spectrometer
- Julián:
  - Confocal scanning and single particle spectrometry.

---
Quick Presentation
- Me
  - PhD in Leiden (Netherlands)
    - Confocal microscope/Optical Tweezers/Spectroscopy
  - Started Uetke (and Python For The Lab)
    - Built software for:
      - Real Time Nanoparticle tracking, Optical Tweezers, Laser Scanning, Network Control of Devices, Wide-Field Microscope Control
  - Currently building a spinoff: Nanoparticle tracking in hollow fibers

---
Difference with ‘just’ software
- Things can (and will) break
  - Devices have limits
- Data will make no sense
  - Bandwidth, rate limits
- You really need to understand the hardware
  - Manuals are your BEST (and only) friend.

---
Understanding the experiment

---
Understanding the experiment

---
Understanding the experiment

---
Quick intro to Python
- Python is an interpreted, object-oriented, high-level programming language with dynamic semantics.
- Different Implementations:
  - CPython
  - Anaconda (backed by a commercial provider)
  - PyPy (Just-In-Time)
  - Jython (Java Python)
  - Intel Python
  - ...

---
About Anaconda

---
About Anaconda
- Not needed for this project
- It may be very useful for more complex scenarios
- It doesn’t hurt

---
Quick intro to Python
- Open a Terminal/Command Prompt
- Trigger Python: $ python

---
Quick intro to Python
>>> 2+3
5
>>> a = [1, 2, 3, 4]
>>> for i in range(4):
>>> print(a[i])
1
2
3
4
>>> a = [1, 2, 3, 4]
>>> for i in range(len(a)):
>>> print(a[i])

---
Quick intro to Python
>>> a = [1, 'a', 1.1]
>>> a = [1, 'a', 1.1]
>>> for element in a:
>>> print(element)
>>> print(type(element))
>>> a = [i for i in range(100)]
>>> b = [i**2 for i in range(100)]
>>> c = [i for i in range(100) if i%2==0]
Given a list like:
b = [1, 2, ‘a’, 3, 4, ‘b’, 5, ‘c’, ‘d’]
create another list with only the elements of type string.

---
Intro to Python
Dictionaries
>>> a = {'first': 1, 'second': 2}
>>> a['first']
1
>>> b = [1, 2, 3, '4', 5.1]
>>> a = {'first': 1, 'second': b}
>>> a['second']
>>> triangle = {'base': 2, 'height': 1}
>>> area = triangle['base']*triangle['height']/2

---
Intro to Python
>>> for key in a:
>>> print(key)
>>> print(a[key])
>>> if 'first' in a:
>>> print('First is in a')
>>> a = {'first': 1, 'second': 2, 'third': 3}
>>> new_values = {'first': 5, 'second': 6, 'fourth': 4}
>>> a.update(new_values)
>>> a['first']
>>> a['third']
>>> a['fourth']
Given two dictionaries,
a = {‘first’: 1, ‘second’: 2, ‘third’: 3}
B = {‘fourth’: 4, ‘fifth’: 5}
merge the second into the first one.

---
Intro to Python
Why lists if dictionaries are more powerful?
>>> from sys import getsizeof
>>> a = [i for i in range(100)]
>>> b = {i:i for i in range(100)}
>>> print(getsizeof(a))
912
>>> print(getsizeof(b))
4704
Write a simple for loop that prints the ratio of the memory usage of a
list and of a dictionary as a function of the length of each.

---
Intro to Python
Now it is time to switch to PyCharm

---
Intro to Python
Classes
It is the core idea behind Object-Oriented-Programming (OOP)
class Person:
   def __init__(self, name, last_name):
       self.name = name
       self.last_name = last_name
me = Person('Aquiles', 'Carattino')
print(me.name)
print(me.last_name)

---
OOP
class Person:
   def __init__(self, name, last_name):
       self.name = name
       self.last_name = last_name
    def give_full_name(self):
       return self.name + ' ' + self.last_name
me = Person('Aquiles', 'Carattino')
full_name = me.give_full_name()
print(full_name)

---
Inheritance
class Student(Person):
   def __init__(self, name, last_name, course):
       super().__init__(name, last_name)
       self.course = course
me = Student('Aquiles', 'Carattino', 'Math')
print(me.course)
print(me.give_full_name())

---
Advantages of Classes
- The true power comes with the self:
  - Storing the state
- The true difficulty is deciding when not to use classes
- It is easy to make reusable code
- It is easy to allow others to expand on one’s work

---
Part 2

---
Why Python?
What do you think?

---
Why Python?
- What do I think?
  - It is free
  - It is open
  - Great community
  - It is easy and quick
  - Enhances employability

---
Our Experiment
- Measure the I-V curve of a diode
  - What is a diode?
  - What is I?
  - What is V?

---
What do we want to achieve
Measure I-V curve of a Diode
What is the usefulness?
Can you relate to your experiment?
What do you need?

---
What do we want to achieve
DAQ Card:
Based on Arduino
2 Analog Outputs
12 Analog Inputs
An Arduino is ‘similar’ to an Adwin box:
It can be programmed and run independently from a PC
Normal DAQ card (e.g. NI-DAQ) are already programmed and do not work independently from a computer
This card was already programmed, in order to simulate what you would normally find in your lab.

---
Step 1: Think
- How can you measure the I-V curve?
- And specifically with this device?

---
Building the circuit

---
How to communicate with devices
- Message based devices
  - Exchange text messages back and forth
  - Two basic operations: Write and Read
  - The manual specifies the operations
    - e.g: https://www.tek.com/oscilloscope/tds1000-manual
  - SCPI Standard
    - Standard Commands for Programmable Instruments

---
Windows 7
- Get the drivers from:
  - https://uetke.com/arduino_driver.zip

---
Communicating in Python
$ python -m serial.tools.list_ports
>>> import serial
>>> device = serial.Serial('/dev/ttyACM0')
>>> device.write(b'IDN\n')
>>> answer = device.readline()
>>> print('The answer is: {}'.format(answer))
>>> device.close()
What happens if you use read() instead of readline()? What
happens if you call readline() before writing the IDN command?
If the program freezes (most likely sooner or later you are going to
break things up), you can stop the execution by pressing Ctrl+C
What happens if you try to write to the device after you have closed it?

---
Structure of the project
- Working with files instead of in the command line
  Create a file communicate_with_device.py
import serial
device = serial.Serial('/dev/ttyACM0')
device.write(b'IN:CH0\n')
value = device.readline()
print('The value is: {}'.format(value))
device.close()
$ python communicate_with_device.py
Does it work?

---
Does it work?
from time import sleep
import serial
device = serial.Serial('/dev/ttyACM0')
device.write(b'IN:CH0\n')
sleep(1)
value = device.readline()
print('The value is: {}'.format(value))
device.close()
Read the manual of the PFTL DAQ and find a way to set an analog
output to 1 Volt.
Read the manual of the PFTL DAQ and find a way to read an analog input.

---
Now that you know how to set values and how to read values. Acquire
the I-V curve of the diode.
This is a difficult exercise, aimed at showing you that it doesn’t take a long time to be able to achieve a very important goal.

---
Why to continue?
- The onion principle:
  - Do not optimize prematurely
  - Build in such a way that you can improve later
  - Make clear code that others can understand
  - Develop in layers, building in complexity

---
Why to continue?
- Think about what do you have so far
  - Can others use your code?
  - Can you easily change parameters?
  - Can you use your code for a confocal microscope, tune a laser, etc.?

---
Higher-Level: Classes
simple_daq.py
import serial
class Device():
def __init__(self, port):
self.rsc = serial.Serial(port)
def idn(self):
self.rsc.write(b'IDN\n')
return self.rsc.readline()
Start Python in the same folder where you created the file
>>> from simple_daq import Device
>>> dev = Device(‘/dev/ttyACM0’)
>>> print(dev.idn())

---
Simple-daq.py
dev = Device('/dev/ttyACM0')
serial_number = dev.idn()
print("The device serial number is: \ #← Continue below
{}".format(serial_number))
Write a method get_analog_value which takes two arguments:
self and channel and that returns the value read from the specified channel.
Write a method set_analog_value which takes three arguments:
self, channel and value
and that sets the output value to the specified channel.

---
General methods to simplify the code
- Identify common patterns, transform them into a new method/function
- Identify repeating constants, transform them into a set of parameters
What are the repeating elements in the previous examples?

---
class Device():
    DEFAULTS = {'write_termination': '\n',
    'read_termination': '\n',
    'encoding': 'ascii',
    }
    rsc = None
    def __init__(self, port):
        [...]

---
def __init__(self, port):
    self.port = port
def initialize(self):
    self.rsc = serial.Serial(self.port)
    sleep(0.5)

---
def write(self, message):
    msg = message + self.DEFAULTS['write_termination']
    msg = msg.encode(self.DEFAULTS['encoding'])
    self.rsc.write(msg)
Improve the write method in order to check whether the communication with the device has been initialized.

---
Making descriptive errors
If you don’t add an error message, this happens:
AttributeError: 'NoneType' object has no attribute 'write'
It could look like this:
Exception: Forgot to initialize the Device driver at port COM1
Add the following to your code and try again:
raise Exception("Trying to write to device before initializing")

---
def read(self):
    line = "".encode(self.DEFAULTS['encoding'])
    read_termination = self.DEFAULTS['read_termination'] \
    .encode(self.DEFAULTS['encoding'])
    while True:
        new_char = self.rsc.read(size=1)
        line += new_char
        if new_char == read_termination:
        break
    return line.decode(self.DEFAULTS['encoding'])
You may have seen that we have added a read_timeout to our class,
but we didn’t use it yet. Find a way to stop the loop of the
read_timeout is reached and issue a Warning.
Hint: the package time will give you the current time with a high degree of accuracy. You can import it using
from time import time
and use it with
time()

---
def query(self, message):
    self.write(message)
    return self.read()
Re-write the idn and get_analog_value methods to make use of the new query method.

---
There is one important method missing
def finalize(self):
    if self.rsc is not None:
        self.rsc.close()

---
Time to do something in the real-world
def set_analog_value(self, channel, value):
    write_string = 'OUT:CH{}:{}'.format(channel, value)
    self.write(write_string)

---
Write a method that allows you to linearly increase an analog output in a given range for a given number of steps. Don’t forget to add a delay between each update of a value.
Write a method that is able to record a given analog input while an analog output increases linearly.
Make a plot of your results.

---
Adding Units
Why would you like to add units to the program?
On September 23, 1999, communication with The Mars Climate Orbiter spacecraft, a 338-kilogram robotic space probe launched by NASA, was lost, due to ground-based computer software which produced output in non-SI units of pound-force seconds (lbf·s) instead of the SI units of newton-seconds (N·s) specified in the contract between NASA and Lockheed.
The spacecraft encountered Mars on a trajectory that brought it too close to the planet, causing it to pass through the upper atmosphere and disintegrate.
https://en.wikipedia.org/wikiMars_Climate_Orbiter

---
Adding Units
>>> import pint
>>> ur = pint.UnitRegistry()
>>> meter = ur('meter')
>>> b = 5*meter
>>> print(b)
5 meter
>>> c = b.to('inch')
>>> print(c)
196.8503937007874 inch

---
>>> d = c*b
>>> print(d.to('m**2'))
25.0 meter ** 2
>>> print(d.to('in**2'))
38750.07750015501 inch ** 2
>>> t = 2.5*ur('s')
>>> v = c/t
>>> print(v.to('in/s'))
78.74015748031496 inch / second
>>> current = 5*ur('A')
>>> res = 10*ur('ohm')
>>> voltage = current*res
>>> print(voltage)
50 ampere * ohm
>>> print(voltage.to('V'))
50.0 volt
>>> print(voltage.m_as('mV'))
50000.0

---
From Analog to Digital

---
How do you transform from integers to a real voltage?
And how do you transform from voltage to integers?
In the device driver that you have developed, change the way you return the value of an analog input to include its units.
Change the way you handle the setting of an analog output in order to account for real-world units.

---
Where to get the book
https://www.uetke.com/PFTL_v3.pdf
Where to get the code
https://github.com/pftl
Where to get more information
- https://www.pythonforthelab.com
- https://forum.pythonforthelab.com

---
Homework
- Register an account on github.com
- Register an account on gitlab.com
- Windows users: https://gitforwindows.org/
- MAC/Linux: probably already installed
  - brew install git
  - sudo apt install git

---
Homework
Add units to the read and set of analog voltages
With what you know up to now, can you measure the IV curve of a diode?

---
Quick intro to Python
- Open a Terminal/Command Prompt
- Create a virtual environment
- Load the virtual environment
- Trigger Python: $ python
Python 3.6.3 (default, Oct 3 2017, 21:45:48)
[GCC 7.2.0] on linux
Type "help", "copyright", "credits" or "license" for more information.
>>>

---
Creating Virtual Environments
$ pip install virtualenv
$ virtualenv MyProject
Optionally:
$ virtualenv MyProject --python=/path/to/python
Activate:
Git Bash:
$ source MyProject/Scripts/activate
Linux/Mac
$ source MyProject/bin/activate
PowerShell/CMD
> MyProject\Scripts\activate

---
Extra Step Power Shell
Run as administrator
Set-ExecutionPolicy Unrestricted

---
Why Virtualenvs
Be sure that the dependencies are isolated from each other
(MyProject) $ pip install pint
(MyProject) $ pip freeze
(MyProject) $ deactivate
$ pip freeze
It allows you to reproduce exactly the same environment in a different PC

---
About Virtualenvs
You can have as many virtual environments as you want
Ideally each project has one environment
Anaconda Users:
$ conda create -n yourenvname python=x.x anaconda